ENUBET
Enhanced NeUtrino BEams from kaon Tagging
G. Brunetti (INFN-PD)
On behaf of the ENUBET Collaboration
This project has received funding from the European Research Council (ERC) under the European Union’s Horizon 2020 research and innovation programme (grant agreement N. 681647)
K+
e+
νe
[Speaker Notes: Good morning, and thank you for your invitation. My name is Andrea Longhin. I will present ENUBET which stands for “Enhanced neutrino beams from Kaon tagging”. With this proposal I intend to demonstrate the feasibility of a device which can give a huge boost to the field of neutrino physics.]

---
High Precision Neutrino Flux Measurements in	Conventional Neutrino Beams
The Idea and The Conceptual Design
Neutrino cross sections have crucial role in the oscillation physics	νμ→ νe experiments in appearance mode need direct νe cross section measurements
Exact knowledge of initial flux is the main limiting factor for neutrino oscillation experiments
Flux estimate is an indirect procedure in conventional beams
Remarkable progress on neutrino cross-section measurements and hadro-production in targets but still uncertainties are at the order of ~7-10%
Monitor the neutrino beam with a direct measurement of neutrino fluxes with conventional technologies by tagging the Ke3 decays
Protons → Target (K+,π+) → Ke3 decays	νe @ neutrino detector	e+
K+→e+π0νe
3-body decay → large angle e+
Measure positrons
in a FULLY INSTRUMENTED decay region
“By-pass” uncertainties from POT,hadro-production, beamline efficiency
νe flux prediction = e+ counting
→ Improvement of one order of magnitude cross-section measurement @GeV scale =
Determine absolute νe flux at neutrino detector with O(1%) precision
idea

---
High Precision Neutrino Flux Measurements in	Conventional Neutrino Beams
The Idea and The Conceptual Design
Short tunnel: contribution to νe flux from μ decays negligible
→ νe flux dominated (~98%) by neutrinos from Ke3 decays
Complete control on νe flux with tolerable rates (<500kHz/cm2) and low irradiation (<1kGy)
Requirements:
Transfer Line: as short as possible, keep contaminations low
Tagger:
e+: Longitudinal sampling + integrated light readout
Photon veto: photon ID + precise timing + exploit 1mip/2mip separation
protons
K+ →π0	νe
To neutrino detector
(~50m from H-dump)
Reference Parameters
Pπ/K = 8.5 GeV/c (±10%)
Tagger L=40m, r=1m
<θe+> = 88 mrad
e+
Tagger
Transfer Line

---
The Transfer Line
2 possibilities:
HORN-BASED beamline	→PRO: focusing more π & K in the wanted P range before the	transfer part to the decay tunnel
→ Higher yields @ decay tunnel
CONS:
Horn pulse limit < O(1-10) ms
Tagger rate limit reached with ~1012 POT/spill
We need 104 νe-CC in a 500-ton detector → ~1020 POT = fraction of a year at present proton drivers
~108 spills →challenging/unconventional
→ Multi-Hz extractions + Horn Pulsing (2ms) → machine studies @ SPS
STATIC-FOCUSING beamline	→ PROS: Lower rates @ decay tunnel (1e+/30ns) + Possibility of	event-by-event tagging by coincidences between νe at the detector	and e+ at the tagger
CONS:
Less efficient focusing: lower yields, more POT needed
→ Single slow extraction
Event-count mode
Target→horn→ transport→ Tunnel
Event-by-event mode
Target→ transport→ Tunnel

---
The Transfer Line
Preliminary study for the Horn-based beamline completed → best configuration:	Be Target + Horn + quad triplet + dipole + quad triplet (background studies not yet completed)
Concentrating now on the Static beamline → looks very promising despite lower yields
Latest layout of the static transfer line option
FLUKA for protons interactions in the target
TRANSPORT for optic optimization + G4Beamline for complete TL simulation
Hadronic rates @ Tunnel Entrance (with G4beamline). In parenthesis (EPJ initial estimate)
	p+/pot (10-3)	K+/pot (10-3)	Increase factor wrt initial estimates
Horn-based transfer line	77.3 (33.5)	7.9 (3.7)	~2.2
Static transfer line	26.7 (3.6)	2.05 (0.43)	5-7
Very promising!
Detailed study on beam contaminations in progress
7.4 degrees
Instrumented tagger
Hadron dump
Collimators
Quadrupole
triplet
Dipole
Absorber
target
Quadrupole
Fe-W
shielding
W foil
20 m
Preliminary

---
The Tagger
Shashlik Calorimeter
Ultra Compact Module (UCM) (Fe absorber+Plastic scint)
Light Readout with SiPM
→ 4X0 Longitudinal sampling: e+/π± separation
hadronic
em
Ultra Compact Module (UCM)
Integrated Photon-veto
3x3 cm2 plastic scintillator pads
→ e+/π0 separation (π0 rejection)

---
The Tagger
Shashlik Calorimeter
Calorimeter prototype performance with test-beam data
Calorimeter Prototype

---
The Tagger
Calorimeter prototype performance with test-beam data
Test Beam @ CERN-PS T9 beamline in Nov 2017
56 UCM arranged in 7 longitudinal block (~30X0) + hadr. Layer (coarse sampling)
e/μ tagged with Cherenkov counters and muon catacher
Beam Composition @ 3GeV:
9% e-, 14% μ , 77% hadrons
Tested response to MIP, electrons and charge pions
Ballerini et al., JINST 13 (2018) P01028
em energy res 17%/√E(GeV)
Linearity <3% in 1-5 GeV
From 0 to 200mrad tilts tested→no significant differences
Work to be done on the fiber-to-SiPM mechanical coupling → dominates the non-uniformities (effect corrected equilizing UCM response to mip)
MC/data already in good agreement, longitudinal profiles of partially contained π reproduced by MC @ 10% precision
GEANT /DATA
e/π/μ
Track
reco
DAQ
Trigger
μ Catcher
Non inter. π ID

---
Detectors R&D
γ/e+ discrimination (Photon-Veto)
t0 layer scintillator (3x3x0.5 cm3 ) + WLS Fiber + SiPM
Tested @ CERN T9 in July+October
→Goal: Study light collection efficiency → >95%
First measure of time res → σ~400ps
First 1mip/2mip separation using photon conversion from π0 gammas. (π0 by charge exchange of π+ with low density target after silicon chambers)
Irradiation Studies
SiPM were irradiated at LNL-INFN with 1-3 MeV neutrons in June 2017
→ Characterization of 12,15 and 20 μm SiPM cells
up to 1.2 1011 n/cm2 1 Mev-eq (i.e. max non ionizing	dose accumulated for 104 νeCC at neutrino detector)
irradiated SiPM tested at CERN in October 2017
We are able to discriminate γ from Ke3 e+
Detectors are radiation hard, we see mip & electrons

---
Conclusions
Results of ENUBET studies coming faster than expected and very promising
Many R&D activities currently on-going and another year of test-beams @ CERN ahead→
Achieve recovery time <10ns (to cope with pile-up)
Test of custom digitizer electronics
Photon veto prototypes with plastic scintillators
Scalable/reproducible technological solutions (water-jet holes machining for absorbers, molded scintillators, polysiloxane scintillators → First application in HEP! No drilling&high rad. hard)
Static beam line looks very promising, would avoid the
problem of pulsing a horn + event-by-event tagged
beam!
Work in progress to have precise estimation of
expected beam backgrounds
By The end of the year we expect to complete the
Reference Design:
Complete simulation end-to-end of the beamline +
Final configuration of the calorimeter +
(will test a non-shaslik configuration as well)
Updated physics performance
(monitor of major BR of K+, neutrinos flux determination at 1%,
possibility of a tagged beam)

---
Thank you!

---
Back-ups

---
High Precision Neutrino Flux Measurements in Conventional Neutrino Beams
Constraining ν Fluxes
IDEAL SOLUTION FOR NEW GENERATION SHORT-BASELINES
1% precision on νe fluxes for x-section measurements (“monitored neutrino beams”)
Comparable precision on νμ fluxes from K for x-section measurements
Narrow-band facility where neutrino energy is well-known thanks to small momentum bite
With static-focusing transfer line option (next slide) possibility of complete K-decay kinematic reconstruction → νe energy event-by-event (“tagged neutrino beam”)
 νe Flux
Ke3 golden sample
π+/π0 from K+ can mimic an e+
e/π discrimination through
Shower Longitudinal profile
Vertex reconstruction by timing
Non Ke3 (silver sample) exploitable
 νμ Flux
K well constrained by tagger (from Ke3 and hadronic decays)
νμ from K can be selected at the neutrino
detector using radius-energy correlations
→ high precision σ(νμ)

---
Neutrino Samples

---
Systematics on νe Flux